## Ar
Filename	scan number	comment	Plasma size (cm)	Probe position mm	Gas	Pressure (Pa)	Injected Power(W)	Absorbed Power(W)	Resistance (Ohm)	Ieff (A)	ne(cm-3) / From software	Te(eV) / From software
	Coil resistance	no plasma	1.05E+001				2.00E+002	2.00E+002	3.68E-001	2.33E+001
28092302	200 W	Center plasma position	1.05E+001	2.40E+002	Ar	2.00E+000	2.75E+002	2.03E+002	3.68E-001	1.40E+001
28092303	1		1.05E+001	2.83E+002	Ar	2.00E+000	1.20E+002	8.57E+001	3.68E-001	9.66E+000	1.52E+011	2.93E+000
28092303	2		1.05E+001	2.83E+002	Ar	2.00E+000	2.75E+002	2.03E+002	3.68E-001	1.40E+001	3.70E+011	3.04E+000
28092303	3		1.05E+001	2.83E+002	Ar	2.00E+000	3.99E+002	2.95E+002	3.68E-001	1.68E+001	4.93E+011	3.17E+000
28092303	4		1.05E+001	2.83E+002	Ar	2.00E+000	5.25E+002	3.89E+002	3.68E-001	1.92E+001	6.21E+011	3.33E+000
28092303	5		1.05E+001	2.83E+002	Ar	2.00E+000	6.50E+002	4.78E+002	3.68E-001	2.16E+001	7.26E+011	3.71E+000
28092303	6		1.05E+001	2.83E+002	Ar	2.00E+000	7.75E+002	5.70E+002	3.68E-001	2.36E+001	8.47E+011	3.72E+000
28092303	7		1.05E+001	2.83E+002	Ar	2.00E+000	9.00E+002	6.61E+002	3.68E-001	2.55E+001	9.05E+011	3.81E+000
28092303	8		1.05E+001	2.83E+002	Ar	2.00E+000	1.20E+002	8.59E+001	3.68E-001	9.62E+000	1.38E+011	3.02E+000
28092303	9		1.05E+001	2.83E+002	Ar	2.00E+000	1.20E+002	8.59E+001	3.68E-001	9.62E+000	1.38E+011	2.98E+000
		Scan en pression
28092304
	2		1.05E+001	2.83E+002	Ar	5.00E-001	2.85E+002	2.02E+002	3.68E-001	1.50E+001	1.60E+011	4.13E+000
	3		1.05E+001	2.83E+002	Ar	1.00E+000	2.75E+002	2.01E+002	3.68E-001	1.42E+001	2.14E+011	3.59E+000
	1		1.05E+001	2.83E+002	Ar	1.98E+000	2.75E+002	2.03E+002	3.68E-001	1.40E+001	3.63E+011	3.14E+000
	4		1.05E+001	2.83E+002	Ar	3.03E+003	2.75E+002	2.03E+002	3.68E-001	1.40E+001	5.38E+011	2.92E+000
	5		1.05E+001	2.83E+002	Ar	3.98E+000	2.75E+002	2.03E+002	3.68E-001	1.40E+001	7.41E+011	2.89E+000
	6		1.05E+001	2.83E+002	Ar	5.04E+000	2.75E+002	2.04E+002	3.68E-001	1.39E+001	9.40E+011	2.86E+000
	7		1.05E+001	2.83E+002	Ar	6.00E+000	2.75E+002	2.05E+002	3.68E-001	1.38E+001	1.10E+012	2.91E+000
	8		1.05E+001	2.83E+002	Ar	7.02E+000	2.75E+002	2.05E+002	3.68E-001	1.38E+001	1.23E+012	2.97E+000
	9		1.05E+001	2.83E+002	Ar	8.03E+000	2.75E+002	2.05E+002	3.68E-001	1.38E+001	1.35E+012	3.02E+000
	10		1.05E+001	2.83E+002	Ar	9.97E+000	2.75E+002	2.07E+002	3.68E-001	1.36E+001	1.50E+012	3.08E+000
		Scan en pression rapide
28092305	1		1.05E+001	2.83E+002	Ar	1.00E+001	2.70E+002	2.03E+002	3.68E-001	1.35E+001	1.41E+012	2.96E+000
	2		1.05E+001	2.83E+002	Ar	8.00E+000	2.70E+002	2.02E+002	3.68E-001	1.36E+001	1.31E+012	2.99E+000
	3		1.05E+001	2.83E+002	Ar	6.00E+000	2.70E+002	2.01E+002	3.68E-001	1.37E+001	1.06E+012	2.89E+000
	4		1.05E+001	2.83E+002	Ar	4.00E+000	2.70E+002	2.00E+002	3.68E-001	1.38E+001	7.37E+011	2.87E+000
	5		1.05E+001	2.83E+002	Ar	3.00E+000	2.70E+002	2.00E+002	3.68E-001	1.38E+001	5.46E+011	2.91E+000
	6		1.05E+001	2.83E+002	Ar	2.00E+000	2.70E+002	1.99E+002	3.68E-001	1.39E+001	3.53E+011	3.12E+000
	7		1.05E+001	2.83E+002	Ar	1.00E+000	2.70E+002	1.97E+002	3.68E-001	1.41E+001	2.16E+011	3.55E+000
	8		1.05E+001	2.83E+002	Ar	7.40E-001	2.75E+002	1.98E+002	3.68E-001	1.44E+001	1.87E+011	3.80E+000
			1.05E+001	2.83E+002	Ar	5.00E-001	2.80E+002	1.99E+002	3.68E-001	1.48E+001	1.56E+011	4.11E+000
			1.05E+001	2.83E+002	Ar	2.50E-001	2.90E+002	1.99E+002	3.68E-001	1.58E+001	1.22E+011	4.93E+000

	1					1.00E+001		2.00E+002				2,96
						8.00E+000		2.00E+002				2,91
						6.00E+000		2.00E+002				2,91

## He
Filename	scan number	comment	Plasma size (cm)	Probe position mm	Gas	Pressure (Pa)	Injected Power(W)	Ieff (en Volts / 0,106V/A)	Resistance (Ohm)	Absorbed Power(W)	ne(cm-3) / From software	Te(eV) / From software
29092301	1	IV no clean	21,5	250	He	2	2,00E+002
29092302	1-2	IV clean/ no clean	21,5	250	He	2	2,00E+002
29092303	1-16	220-300 ne	10,5	220-300	He	2	2,00E+002
29092304	1-6	270-300 ne	10,5	270-300	He	2	2,00E+002
		mesure à vide pour R			He		2,00E+002	2,44E+000	3,77E-001	2,40E-001
29092305	2	power varying : 100W	10,5	285	He	2	1,00E+002	1,46E+000		2,85E+001	6,85E+009	5,68E+000
	3	Planté			He			1,69E+000
	4	power varying : 200W			He	2	2,00E+002	1,69E+000		1,04E+002	2,70E+010	5,85E+000
	5	power varying : 300W			He	2	3,00E+002	1,90E+000		1,79E+002	4,60E+010	5,97E+000
	6	Planté			He	2
	7	Planté			He	2
	8	power varying : 400W			He	2	4,00E+002	2,09E+000		2,53E+002	6,31E+010	6,11E+000
	9	power varying : 500W			He	2	5,00E+002	2,27E+000		3,27E+002	7,88E+010	6,22E+000
	10	Planté			He
	11	Planté			He
	12	Planté			He
	13	power varying : 600W			He		6,00E+002	2,43E+000		4,02E+002	9,19E+010	6,40E+000
	14	Planté			He
	15	power varying : 700W			He		7,00E+002	2,62E+000		4,70E+002	1,09E+011	6,53E+000
	16	Planté			He
	17	power varying : 800W					8,00E+002	2,73E+000		5,50E+002	1,20E+011	6,69E+000
	18	power varying : 900W					9,00E+002	2,86E+000		6,26E+002	1,31E+011	6,82E+000
29092306	1	pressure varying : 10 Pa	10,5	285	He	10	2,75E+002	1,48E+000		2,02E+002	9,05E+010	3,91E+000
	2	pressure varying : 8,6 Pa	10,5	285	He	8,6	2,75E+002	1,51E+000		1,98E+002	8,57E+010	4,08E+000
	3	pressure varying : 6,5 Pa	10,5	285	He	6,5	2,85E+002	1,58E+000		2,01E+002	8,04E+010	4,39E+000
	4	pressure varying : 5,3 Pa	10,5	285	He	5,3	2,90E+002	1,64E+000		2,00E+002	7,49E+010	4,62E+000
	5	pressure varying : 4,6 Pa	10,5	285	He	4,6	2,95E+002	1,68E+000		2,00E+002	7,17E+010	4,83E+000
	6	pressure varying : 3,4 Pa	10,5	285	He	3,4	3,05E+002	1,78E+000		1,99E+002	6,42E+010	5,24E+000
	7	pressure varying : 3 Pa	10,5	285	He	3	3,10E+002	1,83E+000		1,98E+002	5,99E+010	5,45E+000
	8	pressure varying : 2,5 Pa	10,5	285	He	2,5	3,20E+002	1,89E+000		2,00E+002	5,55E+010	5,83E+000
	9	pressure varying : 1,9 Pa	10,5	285	He	1,9	3,35E+002	2,00E+000		2,01E+002	4,87E+010	6,39E+000
	10	pressure varying : 1,6 Pa	10,5	285	He	1,6	3,40E+002	2,04E+000		2,00E+002	4,35E+010	6,75E+000
	11	pressure varying : 1,2 Pa	10,5	285	He	1,2	3,60E+002	2,19E+000		1,99E+002	3,64E+010	7,77E+000
	12	pressure varying : 0,8 Pa	10,5	285	He	0,8	4,05E+002	2,47E+000		2,00E+002	3,45E+010	9,09E+000

## Ne
Filename	scan number	comment	Plasma size (cm)	Probe position mm	Gas	Pressure (Pa)	Injected Power(W) = FWD – REF	Ieff (en Volts / 0,106V/A) Without correction !	Resistance (Ohm)	Absorbed Power(W)	ne(cm-3) / From software	Te(eV) / From software
23100601,lp	1	Bug
	2	Test
	3	Bug
	4	Failed
	5	Failed
23100602,lp	1 – 15	Spatial mode : Check maximum of Ne to try being at the center then try to see if the approximation of constant Te was adequate	10	230-300	Ne	2,5	201	1,595	0,3653746098	118,2728603018
		Without plasma : The goal was to measure the resistance	10		Ne		200	2,48	0,3653746098	0
23100603.lp	1	Test to check the maximal density position, it is 285 mm, BINGO !	10		Ne	2,01	100	1,38	0,3653746098	38,0723204995
23100604.lp	1 – 2	Power from 100 to 1000W with a step of 100 at the beginning and then we might increase it later at a constant pressure (Dit it twice by mistake)	10		Ne		200	1,59	0,3653746098	117,7907127992	4,03E+010	5,94
	3		10		Ne		300	1,78	0,3653746098	196,9693028096	6,20E+010	6,17
	4		10		Ne		400	1,97	0,3653746098	273,8000780437	8,85E+010	6,28
	5		10		Ne		500	2,14	0,3653746098	351,0796045786	1,05E+011	6,43
	6		10		Ne		600	2,3	0,3653746098	427,9786680541	1,30E+011	6,5
	7		10		Ne		700	2,46	0,3653746098	503,2127991675	1,44E+011	6,63
	8		10		Ne		800	2,61	0,3653746098	578,4827003122	1,66E+011	6,74
	9		10		Ne		900	2,73	0,3653746098	657,6450312175	1,86E+011	6,87
	10	At the end, we kept the step as it is !	10		Ne		995	2,85	0,3653746098	730,8708376691	2,03E+011	7,02
23100605.lp	1	Power Scan STOP ; Pressure Scan START at constant power of 200W	10		Ne	0,69	335	2,04	0,3653746098	199,6722164412	3,81E+010	9
	2		10		Ne	0,81	330	2	0,3653746098	199,9271592092	4,26E+010	8,56
	3		10		Ne	1	325	1,96	0,3653746098	200,0780437045	4,78E+010	8,01
	4		10		Ne	1,19	319	1,91	0,3653746098	200,3703173777	5,24E+010	7,6
	5		10		Ne	1,4	313	1,86	0,3653746098	200,5	5,72E+010	7,07
	6		10		Ne	2,03	306	1,8	0,3653746098	200,6409989594	6,50E+010	6,38
	7		10		Ne	3,05	297	1,73	0,3653746098	199,6762486993	7,41E+010	5,67
	8		10		Ne	4	293	1,69	0,3653746098	200,1247398543	8,88E+010	5,36
	9		10		Ne	5	291	1,67	0,3653746098	200,3099635796	1,09E+011	5,06
			10		Ne	6,04	288	1,64	0,3653746098	200,5390218522	1,18E+011	4,87
			10		Ne	7,58	278	1,55	0,3653746098	199,875	1,36E+011	4,67
			10		Ne	8,33	278	1,54	0,3653746098	200,8798126951	1,60E+011	4,6
		Temperature drop, retry	10		Ne	10	271	1,48	0,3653746098	199,7721123829	1,79E+011	4,08
			10		Ne	10	273	1,5	0,3653746098	199,8340270552	1,93E+011	4,14
						10	272	1,49	0,3653746098	199,8063215401	1,91E+011	4,26
									0,3653746098	0
									0,3653746098	0
									0,3653746098	0
									0,3653746098	0
									0,3653746098	0
									0,3653746098	0
									0,3653746098	0
									0,3653746098	0